## Grand Summary
GRAND SUMMARY FOR ABDULLAHI ISSE PRIMARY SCHOOL
ITEM | BILL | AMOUNT US$
1 | REHABILITATION OF CLASSROOMS INCLUDING STORM WATER MANAGEMENT IN ABDULAHI ISSE PRIMARY SCHOOL, GALKAYO, GALMUDUG STATE, SOMALIA | 0
GRAND SUMMARY |  | 0

## Abdullahi Isse Pri Sch
BILL OF QUANTITY REHABILITATION OF CLASSROOMS INCLUDING STORM WATER MANAGEMENT IN ABDULAHI ISSE PRIMARY SCHOOL, GALKAYO, GALMUDUG STATE, SOMALIA
Notes: The contractor is reminded to visit the site before filling the tender to ascertain the extent of the conditions on site. All quantified works in the tender are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the tender. All unit rate shall be deemed to include all elements of supplying and construction work that is labor and other overheads for example, security, profit, and overheads, cost of materials, wastages, transport etc
ITEM | DESCRIPTION | UNIT | QTY | RATE (US$) | AMOUNT (US$)
The contractor shall provide, erect, and maintain all safety measures requirements in accordance to specifications, including protecting the scaffolding with special cloth or fabric, and work plan for all items should be submitted before starting any activity. The contractor is reminded to supply crushed machine ballast for any concrete works at the site
1 | Roof repair: carefully identify, remove, and replace all defective roof sheets in all 12 classrooms and the hall, including supply and fixing of new matching roofing sheets, replacement of damaged fasteners and accessories, realignment of sheets, sealing of joints to prevent leakage, and disposal of removed materials, in designated locations as per directive of Engineer Representative | LS | 1
2 | Ceiling repair: carefully remove and dispose of all existing ceiling boards and damaged components, including brandering; supply and install new ceiling boards complete with treated timber/aluminium brandering, hangers, fasteners, jointing, trimming, finishing, and making good at all junctions with walls and columns. | SM | 756
3 | Hack and remove all failed and defective floor screed to expose a sound base. Dispose off all debris and waste to designated areas. Prepare and clean exposed surfaces. Provide and compact suitable blinding where necessary. Provide cement and sand screed 1:4 mix and screed to a minimum thickness of 40mm. Finish smooth and level using a steel trowel to form the finished floor surface | SM | 756
4 | Prepare and apply approved paint finish to all internal and external wall surfaces of the school, including the main Gate (4*3m). Work includes surface cleaning, filling cracks and holes, sanding, priming/sealing coat, and applying two coats of emulsion (internal) and weather-resistant paint (external), including all necessary materials, complete. | SM | 2649
5 | Supply and install GI pipes, ND 25mm, Class B, complete with all necessary fittings, valves, and faucets. Connect to existing water supply line and extend to serve all toilets (4No.) facilities. Pressure test the completed installation to ensure adequate and sufficient flow. Leave complete and in full working order | LS | 1
6 | Provide and construct a complete stormwater drainage and pumping system for the courtyard; excavate and regrade entire courtyard area to correct falls and levels to direct all stormwater flows towards the sump; construct drainage channels and catch pits as necessary; excavate, shutter, reinforce and cast in-situ reinforced concrete sump pit sized and positioned in accordance with the designed levels, including base slab, walls and cast in-situ reinforced concrete cover slab; supply and install a high-capacity submersible pump of sufficient duty to evacuate accumulated stormwater rapidly and prevent flooding of the institution; provide and install all associated pipework, valves, fittings, electrical connections and discharge system to convey pumped water clear of the institution; provide and install a secure lockable access cover to the sump pit to prevent access by pupils and eliminate risk of injury; backfill and reinstate all disturbed areas; test and commission the completed installation to confirm adequate pumping capacity and drainage performance; leave complete and in full working order. Each stage shall be submitted for review by Engineer Representative prior to commencement. | LS | 1
7 | Temporary Signboard Provide, erect (prominent location at the site entrance), maintain, and subsequently remove upon completion of the project, a temporary project billboard/signboard of specified dimensions 2.4m x 1.2m. The board shall include project details, client/financier logos, and contractor information as per the approved design and Engineer's instructions. The rate shall cover all materials, painting, framing, supports, and clearing of the site upon removal | Item | 1
8 | Permanent Signboard Supply, fabricate, deliver, and install a permanent, heavy-duty project commemorative billboard. Work includes 2.4m x 1.8m high-density weather-resistant board on galvanized steel posts set in concrete foundation. The board face must include project donor logos, Ministry logos, completion year, and client details as per the Engineer's design and approved artwork. Rate to cover all site excavation, assembly, painting, and antigraffiti clear coating | Item | 1
TOTAL CARRIED TO GRAND SUMMARY